Electron-Ion Collider, Requirements, Specifications, and Interfaces

Interface Control Document: [###]

Ancillary Detectors (6.03.01.10) to Ancillary Detectors (6.03.01.10)

Prepared by:

{{Sig_es_:signer1:signature}}	Date: {{Dte_es_:signer1:date}}

Name, Role

Electron-Ion Collider at Institution

Reviewed by:

{{Sig_es_:signer2:signature}}	Date: {{Dte_es_:signer2:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer3:signature}}	Date: {{Dte_es_:signer3:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer4:signature}}	Date: {{Dte_es_:signer4:date}}

Name, Role

Electron-Ion Collider at Institution

Approved by:

{{Sig_es_:signer5:signature}}	Date: {{Dte_es_:signer5:date}}

Name, Role

Electron-Ion Collider at Institution

REVISION HISTORY

| Revision # | Effective Date | Additional Reviewers | Summary of Change |
| --- | --- | --- | --- |
| 00 |  |  | Initial release. |

TABLE OF CONTENTS

1.	Purpose and Scope	5

2.	Introduction	5

2.1	Ancillary Detectors	5

2.2	Overview of Interface Relationships	5

2.3	Safety and Environmental Considerations	5

2.4	Design Considerations	6

2.5	Organization	6

3.	Interface summary	6

4.	Ancillary Detectors (DET-ANC) to Low Q2 Detectors (DET-ANC-LOWQ2)	16

5.	Ancillary Detectors (DET-ANC) to Online DAQ and Computing Systems (DET-COMP-ONLINE)	16

6.	Ancillary Detectors (DET-ANC) to Electronic Systems (DET-ELEC)	19

7.	Ancillary Detectors (DET-ANC) to Forward HCal Systems (DET-HCAL-FWD)	20

8.	Ancillary Detectors (DET-ANC) to Electron Endcap Structures (DET-INF-BCK)	21

9.	Ancillary Detectors (DET-ANC) to Hadron Endcap Structures (DET-INF-FWD)	21

10.	Ancillary Detectors (DET-ANC) to Detector Infrastructure and Utilities Integration (DET-INF-INT)	22

11.	Applicable Documents	27

12.	Detailed change Log	27

13.	References	27

LIST OF ACRONYMS

| B0 | B0 is the name of the forward magnet just past the Hadron Endcap |  |
| --- | --- | --- |
| CDR | Conceptual Design Report |  |
| COTS | Commercial Off the Shelf |  |
| DAQ | Data Acquisition |  |
| DET | EIC Detector |  |
| DIRC | Detection of Internally Reflected Cherenkov Light |  |
| dRICH | Dual radiator ring imaging Cherenkov |  |
| DVCS | Deeply Virtual Compton Scattering |  |
| EIC | Electron-Ion Collider |  |
| EMCAL | Electro-magnetic Calorimeter |  |
| ESR | Electron Storage Ring |  |
| FCC | Federal Communications Commission |  |
| FDR | Final Design Review |  |
| GEM | Gas Electron Multiplier |  |
| HCAL | Hadronic Calorimeter |  |
| HSR | Hadron Storage Ring |  |
| HVAC | Heating/Ventilation/Air Conditioning |  |
| IP | Interaction Point |  |
| IR | Interaction Region |  |
| MPGD | Micro Pattern Gaseous Detectors |  |
| NAS | National Academy of Sciences |  |
| NEC | National Electric Code |  |
| NEMA | National Electrical Manufacturers Association |  |
| NFPA | National Fire Protection Association |  |
| NRTL | Nationally Recognized Testing Laboratory |  |
| PID | Particle Identification |  |
| PRR | Production Readiness Review |  |
| PWO | PbWO4 |  |
| RCS | Rapid Cycling Synchrotron |  |
| TBD | To Be Determined |  |
| UL | Underwriter Laboratories |  |
| WBS | Work Break Down Structure |  |

# Interface Control Document:

Ancillary Detectors (6.03.01.10) to Ancillary Detectors (6.03.01.10)

# Purpose and Scope

This document records the agreed upon interfaces between the Ancillary Detectors and other sub-systems within the Ancillary Detectors. These interfaces are based on the system requirements that are necessary to integrate these sub-systems as part of the Electron Ion Collider Project.

# Introduction

These interfaces describe the relationships between the Ancillary Detectors and the Ancillary Detectors including (examples by inclusion) located in (areas by inclusion).

## Ancillary Detectors

Provide an introductory description of your sub-system and an overview of the things that it receives, provides, supports, constrains, or otherwise requires as part of its function --- specifically if these things are manifested as interfaces.

## Overview of Interface Relationships

The following are the sub-systems within the Ancillary Detectors that have interfaces connected to the Ancillary Detectors.

Low Q2 Detectors (DET-ANC-LOWQ2): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Online DAQ and Computing Systems (DET-COMP-ONLINE): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Electronic Systems (DET-ELEC): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Forward HCal Systems (DET-HCAL-FWD): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Electron Endcap Structures (DET-INF-BCK): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Hadron Endcap Structures (DET-INF-FWD): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Detector Infrastructure and Utilities Integration (DET-INF-INT): Identify the general types of interface relationships between the ICD reference system and this sub-system.

## Safety and Environmental Considerations

General safety and environmental considerations are identified here. Any considerations that are specific to the individual sub-system, will be addressed in external safety documents and are referenced here.

### Considerations for all systems

Add general safety and environmental considerations here.

### Special considerations and references

Add references here as necessary.

## Design Considerations

Notes here about general design considerations.

## Organization

The interfaces in this document are grouped by sub-system as identified in the sub-system identifier. All interfaces between the Ancillary Detectors and a related sub-system will be included in a single section. Entries within that section will be sorted by the interface identifier or WBS number, as appropriate.

# Interface summary

This tables in this section provide a list of all interfaces that are defined within this document. The interfaces are grouped by sub-system/WBS. Each table has the following fields:

Section: the section number in this document where the interface is addressed.

WBS (1): the WBS number within the ICD reference system, unless the reference system is the owner.

WBS (2): the WBS number for the connected system.

ID: the interface identifier as defined in the Interface Requirement Document (IRD).

Name: the name of the interface as defined in the IRD.

Description: the description of the interface as defined in the IRD.

Owner: identifies the WBS number of the entity that is responsible for ensuring the interface is provided and that it meets validation/verification requirements.

Ancillary Detectors to Low Q2 Detectors

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 6.03.01.10 |  |  | Low Q2 Detectors |  |
| 4.1 | 6.03.01.10 | 6.03.01.10 | I-DET-ANC-LOWQ2.004 | Lumi-Dipole Interference | The LowQ2 detector should be position such that it receives minimal magnetic interference from the Lumi-Dipole. | 6.03.01.10 |

Ancillary Detectors to Online DAQ and Computing Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 5 |  | 6.03.01.08.02 |  |  | Online DAQ and Computing Systems |  |
| 5.1 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.002 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the B0 detector's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.2 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.003 | Slow Controls | A network connection will be provided from the DAQ system to the B0 detector's slow controls interface. | 6.03.01.08.02 |
| 5.3 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.004 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the Low Q2 detector's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.4 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.005 | Slow Controls | A network connection will be provided from the DAQ system to the Low Q2 detector's slow controls interface. | 6.03.01.08.02 |
| 5.5 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.006 | Data Transfer and Control Interface | Fiber connection from the DAQ system to the detector's RDO to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.6 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.007 | Slow Controls | Network connection from the DAQ system to the detector's slow controls interface. | 6.03.01.08.02 |
| 5.7 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.008 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the Off-Momentum detector's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.8 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.009 | Slow Controls | A network connection will be provided from the DAQ system to the Off-Momentum slow controls interface. | 6.03.01.08.02 |
| 5.9 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.010 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the Roman Pot's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.10 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.011 | Slow Controls | Network connection from the DAQ system to the detector's slow controls interface. | 6.03.01.08.02 |
| 5.11 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.012 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the Zero-Degree Calorimeter's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 5.12 | 6.03.01.10 | 6.03.01.08.02 | I-DET-COMP-ONLINE.013 | Slow Controls | A network connection will be provided from the DAQ system to the Zero-Degree Calorimeter's slow controls interface. | 6.03.01.08.02 |

Ancillary Detectors to Electronic Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 6 |  | 6.03.01.07 |  |  | Electronic Systems |  |
| 6.1 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.001 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 6.2 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.002 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 6.3 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.003 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 6.4 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.004 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 6.5 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.005 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 6.6 | 6.03.01.10 | 6.03.01.07 | I-DET-ELEC.006 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |

Ancillary Detectors to Forward HCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 7 |  | 6.03.01.05 |  |  | Forward HCal Systems |  |
| 7.1 | 6.03.01.10 | 6.03.01.05 | I-DET-INF-INT.005 | Space Constraint | The position of the forward HCAL is bounded by the required 50cm clearance between the backward HCAL surface and the B0 magnet in the forward direction. Changes to the size or position of either must be coordinated with the other. | 6.03.01.09.04 |

Ancillary Detectors to Electron Endcap Structures

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 8 |  | 6.03.01.09.02 |  |  | Electron Endcap Structures |  |
| 8.1 | 6.03.01.10 | 6.03.01.09.02 | I-DET-INF-BCK.003 | LowQ2 Support | The LowQ2 detector is supported by a freestanding platform that is adjacent to the outgoing electron beam. | 6.03.01.09.02 |
| 8.2 | 6.03.01.10 | 6.03.01.09.02 | I-DET-INF-BCK.004 | Lumi Support System | The luminosity detector will be supported by an independent support structure / table. | 6.03.01.09.02 |

Ancillary Detectors to Hadron Endcap Structures

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 9 |  | 6.03.01.09.03 |  |  | Hadron Endcap Structures |  |
| 9.1 | 6.03.01.10 | 6.03.01.09.03 | I-DET-INF-FWD.001 | Detector Support | The off-momentum detectors will be supported by an integrated support stand that is fully integrated with the vacuum system and allows the position of the detector to be adjusted. | 6.03.01.09.03 |
| 9.2 | 6.03.01.10 | 6.03.01.09.03 | I-DET-INF-FWD.002 | Detector Support | The roman-pot detectors will be supported by an integrated support stand that is fully integrated with the vacuum system and allows the position of the detector to be adjusted. | 6.03.01.09.03 |
| 9.3 | 6.03.01.10 | 6.03.01.09.03 | I-DET-INF-FWD.005 | B0 Support System | The B0 detector will be supported in the interior of the B0 magnet and will be dependent on the B0 magnet design, and must be adequate to support the weight of the crystals and the tracking detectors. | 6.03.01.09.03 |
| 9.4 | 6.03.01.10 | 6.03.01.09.03 | I-DET-INF-FWD.006 | ZDC Support System | The detector will be supported on a free-standing structure / table | 6.03.01.09.03 |

Ancillary Detectors to Detector Infrastructure and Utilities Integration

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 10 |  | 6.03.01.09.04 |  |  | Detector Infrastructure and Utilities Integration |  |
| 10.1 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.004 | Space Constraint | B0 detector must fit entirely within the bore of the B0 magnet. | 6.03.01.09.04 |
| 10.2 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.005 | Space Constraint | The position of the forward HCAL is bounded by the required 50cm clearance between the backward HCAL surface and the B0 magnet in the forward direction. Changes to the size or position of either must be coordinated with the other. | 6.03.01.09.04 |
| 10.3 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.006 | Space Constraint | The position of and accessibility of the B0 detector in the backward direction is limited by the cryostat containing the final focusing magnets. | 6.03.01.09.04 |
| 10.4 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.007 | Space Constraint | Access to the B0 detector is constrained by the vacuum valve in front of the B0 magnet. A minimum of 15 centimeters of free space will be required on the IP-side of the B0-dipole for the installation of the B0 detectors. | 6.03.01.09.04 |
| 10.5 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.008 | Space Constraint | The electron and hadron beampipes must be contained within the B0 detector. | 6.03.01.09.04 |
| 10.6 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.009 | Position Constraint | The Low-Q2 detector must be upstream in the electron direction from the Q3ER magnet. | 6.03.01.09.04 |
| 10.7 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.010 | Position Constraint | The Low-Q2 detector must be downstream in the electron direction from the B2ER magnet. | 6.03.01.09.04 |
| 10.8 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.011 | Position Constraint | The Low-Q2 detector must be at the same level as the electron beamline. | 6.03.01.09.04 |
| 10.9 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.041 | Process Cooling | A cooling system will be required to remove heat from the B0-calorimeter and electronics readouts, to maintain an acceptable temperature. A chiller should be installed near the sub-system and a space should be allocated for this chiller. | 6.03.01.09.04 |
| 10.10 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.042 | Process Cooling | Either a liquid or gas cooling system will be required to remove heat from the Low-Q2 calorimeter, tracking and readout electronics, to maintain them at room temperature. | 6.03.01.09.04 |
| 10.11 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.043 | Dipole Power | The two dipoles in front of the luminosity detectors will require an infrastructure power source. | 6.03.01.09.04 |
| 10.12 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.044 | Dipole Vacuum | The beamline between the two luminosity detector dipoles must be under vacuum. | 6.03.01.09.04 |
| 10.13 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.045 | Process Cooling | A cooling system will be required to remove heat from the tracking and readout electronics to prevent heat buildup. | 6.03.01.09.04 |
| 10.14 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.046 | Process Cooling | A cooling system will be required to remove heat from the tracking and readout electronics to prevent heat buildup. | 6.03.01.09.04 |
| 10.15 | 6.03.01.10 | 6.03.01.09.04 | I-DET-INF-INT.047 | Process Cooling | A cooling system will be required to remove heat from the calorimeter and readout electronics to prevent heat buildup. | 6.03.01.09.04 |

# Ancillary Detectors (DET-ANC) to Low Q2 Detectors (DET-ANC-LOWQ2)

I-DET-ANC-LOWQ2.004	Lumi-Dipole Interference

System 1:	Low Q2 Detectors (6.03.01.10)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	ENV

Description:	The LowQ2 detector should be position such that it receives minimal magnetic interference from the Lumi-Dipole.

Provider:	Low Q2 Detectors (6.03.01.10)

Details:	See details in the Low Q2 Detectors Interface Control Document.

Requirements:	P-DET-ANC-LOWQ2.15

References:

# Ancillary Detectors (DET-ANC) to Online DAQ and Computing Systems (DET-COMP-ONLINE)

I-DET-COMP-ONLINE.002	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	B-Zero Detectors (6.03.01.10)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the B0 detector's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.003	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	B-Zero Detectors (6.03.01.10)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the B0 detector's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.004	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Low Q2 Detectors (6.03.01.10)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the Low Q2 detector's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.005	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Low Q2 Detectors (6.03.01.10)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the Low Q2 detector's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.006	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	DATA

Description:	Fiber connection from the DAQ system to the detector's RDO to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.007	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	CONTROL

Description:	Network connection from the DAQ system to the detector's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.008	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Off-Momentum Detectors (6.03.01.10)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the Off-Momentum detector's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.009	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Off-Momentum Detectors (6.03.01.10)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the Off-Momentum slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.010	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Roman Pots (6.03.01.10)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the Roman Pot's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.011	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Roman Pots (6.03.01.10)

Type:	CONTROL

Description:	Network connection from the DAQ system to the detector's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.012	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Zero Degree Calorimeter (6.03.01.10)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the Zero-Degree Calorimeter's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.013	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Zero Degree Calorimeter (6.03.01.10)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the Zero-Degree Calorimeter's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

# Ancillary Detectors (DET-ANC) to Electronic Systems (DET-ELEC)

I-DET-ELEC.001	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	B-Zero Detectors (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-ELEC.002	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Low Q2 Detectors (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-ELEC.003	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-ELEC.004	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Off-Momentum Detectors (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-ELEC.005	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Roman Pots (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-ELEC.006	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Zero Degree Calorimeter (6.03.01.10)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-ANC.4

References:

# Ancillary Detectors (DET-ANC) to Forward HCal Systems (DET-HCAL-FWD)

I-DET-INF-INT.005	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	Forward HCal Systems (6.03.01.05)

Type:	SPACE

Description:	The position of the forward HCAL is bounded by the required 50cm clearance between the backward HCAL surface and the B0 magnet in the forward direction. Changes to the size or position of either must be coordinated with the other.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-HCAL.1

References:

# Ancillary Detectors (DET-ANC) to Electron Endcap Structures (DET-INF-BCK)

I-DET-INF-BCK.003	LowQ2 Support

System 1:	Electron Endcap Structures (6.03.01.09.02)

System 2:	Low Q2 Detectors (6.03.01.10)

Type:	STRUCT

Description:	The LowQ2 detector is supported by a freestanding platform that is adjacent to the outgoing electron beam.

Provider:	Electron Endcap Structures (6.03.01.09.02)

Details:	See details in the Electron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

I-DET-INF-BCK.004	Lumi Support System

System 1:	Electron Endcap Structures (6.03.01.09.02)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	STRUCT

Description:	The luminosity detector will be supported by an independent support structure / table.

Provider:	Electron Endcap Structures (6.03.01.09.02)

Details:	See details in the Electron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

# Ancillary Detectors (DET-ANC) to Hadron Endcap Structures (DET-INF-FWD)

I-DET-INF-FWD.001	Detector Support

System 1:	Off-Momentum Detectors (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	STRUCT

Description:	The off-momentum detectors will be supported by an integrated support stand that is fully integrated with the vacuum system and allows the position of the detector to be adjusted.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

I-DET-INF-FWD.002	Detector Support

System 1:	Roman Pots (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	STRUCT

Description:	The roman-pot detectors will be supported by an integrated support stand that is fully integrated with the vacuum system and allows the position of the detector to be adjusted.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

I-DET-INF-FWD.005	B0 Support System

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	IR Superconducting Magnets (6.04.02)

Type:	STRUCT

Description:	The B0 detector will be supported in the interior of the B0 magnet and will be dependent on the B0 magnet design, and must be adequate to support the weight of the crystals and the tracking detectors.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

I-DET-INF-FWD.006	ZDC Support System

System 1:	Hadron Endcap Structures (6.03.01.09.03)

System 2:	Zero Degree Calorimeter (6.03.01.10)

Type:	STRUCT

Description:	The detector will be supported on a free-standing structure / table

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-ANC.2

References:

# Ancillary Detectors (DET-ANC) to Detector Infrastructure and Utilities Integration (DET-INF-INT)

I-DET-INF-INT.004	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	B-Zero Detectors (6.03.01.10)

Type:	SPACE

Description:	B0 detector must fit entirely within the bore of the B0 magnet.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.005	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	Forward HCal Systems (6.03.01.05)

Type:	SPACE

Description:	The position of the forward HCAL is bounded by the required 50cm clearance between the backward HCAL surface and the B0 magnet in the forward direction. Changes to the size or position of either must be coordinated with the other.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1, P-DET-HCAL.1

References:

I-DET-INF-INT.006	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	IR Superconducting Magnets (6.04.02)

Type:	SPACE

Description:	The position of and accessibility of the B0 detector in the backward direction is limited by the cryostat containing the final focusing magnets.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.007	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	Access to the B0 detector is constrained by the vacuum valve in front of the B0 magnet. A minimum of 15 centimeters of free space will be required on the IP-side of the B0-dipole for the installation of the B0 detectors.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.008	Space Constraint

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	The electron and hadron beampipes must be contained within the B0 detector.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.009	Position Constraint

System 1:	Low Q2 Detectors (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	The Low-Q2 detector must be upstream in the electron direction from the Q3ER magnet.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.010	Position Constraint

System 1:	Low Q2 Detectors (6.03.01.10)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	The Low-Q2 detector must be downstream in the electron direction from the B2ER magnet.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.011	Position Constraint

System 1:	Low Q2 Detectors (6.03.01.10)

System 2:	IR System Installation and Final Integeration (6.04.04)

Type:	SPACE

Description:	The Low-Q2 detector must be at the same level as the electron beamline.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.1

References:

I-DET-INF-INT.041	Process Cooling

System 1:	B-Zero Detectors (6.03.01.10)

System 2:	IR System Installation and Final Integeration (6.04.04)

Type:	SPACE

Description:	A cooling system will be required to remove heat from the B0-calorimeter and electronics readouts, to maintain an acceptable temperature. A chiller should be installed near the sub-system and a space should be allocated for this chiller.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.3

References:

I-DET-INF-INT.042	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Low Q2 Detectors (6.03.01.10)

Type:	COOL

Description:	Either a liquid or gas cooling system will be required to remove heat from the Low-Q2 calorimeter, tracking and readout electronics, to maintain them at room temperature.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.3

References:

I-DET-INF-INT.043	Dipole Power

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	ELEC

Description:	The two dipoles in front of the luminosity detectors will require an infrastructure power source.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.4

References:

I-DET-INF-INT.044	Dipole Vacuum

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Luminosity Detectors (6.03.01.10)

Type:	VAC

Description:	The beamline between the two luminosity detector dipoles must be under vacuum.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC-LUMI.10

References:

I-DET-INF-INT.045	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Off-Momentum Detectors (6.03.01.10)

Type:	COOL

Description:	A cooling system will be required to remove heat from the tracking and readout electronics to prevent heat buildup.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.3

References:

I-DET-INF-INT.046	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Roman Pots (6.03.01.10)

Type:	COOL

Description:	A cooling system will be required to remove heat from the tracking and readout electronics to prevent heat buildup.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.3

References:

I-DET-INF-INT.047	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Zero Degree Calorimeter (6.03.01.10)

Type:	COOL

Description:	A cooling system will be required to remove heat from the calorimeter and readout electronics to prevent heat buildup.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ANC.3

References:

# Applicable Documents

List applicable documents considered to be part of this document. Applicable documents shall be obtained from the EIC SharePoint Document Center.

# Detailed change Log

| Revision | Date | Change |
| --- | --- | --- |

# References

- doi:10.17226/25171., National Academies of Sciences, Engineering, and Medicine, "An Assessment of U.S.-Based Electron-Ion Collider Science", The National Academies Press, Washington, DC, 2018.

- EIC-ORG-PLN-010, Electron-Ion Collider L1 Requirements (Global Requirements Document)

- BNL-221006-2021-FORE, EIC Conceptual Design Report

- arXiv:2103.05419, Science Requirements and Detector Concepts for the Electron-Ion Collider: EIC Yellow Report

- EIC-SEG-PLN-016, Requirements Management Plan

- EIC-SEG-PLN-022, Systems Engineering Management Plan

- EIC-SEG-PLN-020, EIC Interface Management Plan