Electron-Ion Collider, Requirements, Specifications, and Interfaces

Interface Control Document: [###]

Electron Polarimetry Systems (6.03.01.11.01) to Detector System (6.03.01)

Prepared by:

{{Sig_es_:signer1:signature}}	Date: {{Dte_es_:signer1:date}}

Name, Role

Electron-Ion Collider at Institution

Reviewed by:

{{Sig_es_:signer2:signature}}	Date: {{Dte_es_:signer2:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer3:signature}}	Date: {{Dte_es_:signer3:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer4:signature}}	Date: {{Dte_es_:signer4:date}}

Name, Role

Electron-Ion Collider at Institution

Approved by:

{{Sig_es_:signer5:signature}}	Date: {{Dte_es_:signer5:date}}

Name, Role

Electron-Ion Collider at Institution

REVISION HISTORY

| Revision # | Effective Date | Additional Reviewers | Summary of Change |
| --- | --- | --- | --- |
| 00 |  |  | Initial release. |

TABLE OF CONTENTS

1.	Purpose and Scope	5

2.	Introduction	5

2.1	Electron Polarimetry Systems	5

2.2	Overview of Interface Relationships	5

2.3	Interface Responsibilities	5

2.4	Safety and Environmental Considerations	5

2.5	Design Considerations	6

2.6	Organization	6

3.	Interface summary	6

4.	Electron Polarimetry Systems (DET-DS-POL-EPOL) to Detector System (DET-DS)	10

5.	Electron Polarimetry Systems (DET-DS-POL-EPOL) to Data Acquisition and Computing Systems (DET-DS-COMP)	10

6.	Electron Polarimetry Systems (DET-DS-POL-EPOL) to Electronic Systems (DET-DS-ELEC)	13

7.	Applicable Documents	15

8.	Detailed change Log	15

9.	References	15

LIST OF ACRONYMS

| B0 | B0 is the name of the forward magnet just past the Hadron Endcap |  |
| --- | --- | --- |
| CDR | Conceptual Design Report |  |
| COTS | Commercial Off the Shelf |  |
| DAQ | Data Acquisition |  |
| DET | EIC Detector |  |
| DIRC | Detection of Internally Reflected Cherenkov Light |  |
| dRICH | Dual radiator ring imaging Cherenkov |  |
| DVCS | Deeply Virtual Compton Scattering |  |
| EIC | Electron-Ion Collider |  |
| EMCAL | Electro-magnetic Calorimeter |  |
| ESR | Electron Storage Ring |  |
| FCC | Federal Communications Commission |  |
| FDR | Final Design Review |  |
| GEM | Gas Electron Multiplier |  |
| HCAL | Hadronic Calorimeter |  |
| HSR | Hadron Storage Ring |  |
| HVAC | Heating/Ventilation/Air Conditioning |  |
| IP | Interaction Point |  |
| IR | Interaction Region |  |
| MPGD | Micro Pattern Gaseous Detectors |  |
| NAS | National Academy of Sciences |  |
| NEC | National Electric Code |  |
| NEMA | National Electrical Manufacturers Association |  |
| NFPA | National Fire Protection Association |  |
| NRTL | Nationally Recognized Testing Laboratory |  |
| PID | Particle Identification |  |
| PRR | Production Readiness Review |  |
| PWO | PbWO4 |  |
| RCS | Rapid Cycling Synchrotron |  |
| TBD | To Be Determined |  |
| UL | Underwriter Laboratories |  |
| WBS | Work Break Down Structure |  |

# Interface Control Document:

Electron Polarimetry Systems (6.03.01.11.01) to Detector System (6.03.01)

# Purpose and Scope

This document records the agreed upon interfaces between the Electron Polarimetry Systems and other sub-systems within the Detector System. These interfaces are based on the system requirements that are necessary to integrate these sub-systems as part of the Electron Ion Collider Project.

# Introduction

These interfaces describe the relationships between the Electron Polarimetry Systems and the Detector System including (examples by inclusion) located in (areas by inclusion).

## Electron Polarimetry Systems

Provide an introductory description of your sub-system and an overview of the things that it receives, provides, supports, constrains, or otherwise requires as part of its function --- specifically if these things are manifested as interfaces.

Detector System (DET-DS): Description of the TYPES of interfaces that exist between the ICD reference system and this sub-system, and a BRIEF overview of the roles they play.

Data Acquisition and Computing Systems (DET-DS-COMP): Description of the TYPES of interfaces that exist between the ICD reference system and this sub-system, and a BRIEF overview of the roles they play.

Electronic Systems (DET-DS-ELEC): Description of the TYPES of interfaces that exist between the ICD reference system and this sub-system, and a BRIEF overview of the roles they play.

## Overview of Interface Relationships

The following are the sub-systems within the Detector System that have interfaces connected to the Electron Polarimetry Systems.

## Interface Responsibilities

The various ownerships of responsibilities may be listed here. However, this section might also refer to the Provider section of the interface detail if all pertinent responsibilities are listed there. If this is the case, simply enter: “See the Provider section within the interface details for information about the responsibilities associated with individual interfaces.”

## Safety and Environmental Considerations

General safety and environmental considerations are identified here. Any considerations that are specific to the individual sub-system, will be addressed in external safety documents and are referenced here.

### Considerations for all systems

Add general safety and environmental considerations here.

### Special considerations and references

Add references here as necessary.

## Design Considerations

Notes here about general design considerations.

## Organization

The interfaces in this document are grouped by sub-system as identified in the sub-system identifier. All interfaces between the Electron Polarimetry Systems and a related sub-system will be included in a single section. Entries within that section will be sorted by the interface identifier or WBS number, as appropriate.

# Interface summary

This tables in this section provide a list of all interfaces that are defined within this document. The interfaces are grouped by sub-system/WBS. Each table has the following fields:

Section: the section number in this document where the interface is addressed.

WBS (1): the WBS number within the ICD reference system, unless the reference system is the owner.

WBS (2): the WBS number for the connected system.

ID: the interface identifier as defined in the Interface Requirement Document (IRD).

Name: the name of the interface as defined in the IRD.

Description: the description of the interface as defined in the IRD.

Owner: identifies the WBS number of the entity that is responsible for ensuring the interface is provided and that it meets validation/verification requirements.

Electron Polarimetry Systems to Detector System

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 6.03.01 |  |  | Detector System |  |
| 4.1 | 6.03.01.11.01 | 6.03.01 | I-DET-DS-POL-EPOL-ESR.020 | Laser Lab UPS Power | The lasers should be provided with UPS power to allow them to be shutdown gracefully in the event of a power failure or electrical transient. | 6.03.01.11.01.01 |
| 4.2 | 6.03.01.11.01 | 6.03.01 | I-DET-DS-POL-EPOL-RCS.016 | Laser Lab UPS Power | The lasers should be provided with UPS power to allow them to be shutdown gracefully in the event of a power failure or electrical transient. | 6.03.01.11.01.02 |

Electron Polarimetry Systems to Data Acquisition and Computing Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 5 |  | 6.03.01.08 |  |  | Data Acquisition and Computing Systems |  |
| 5.1 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.056 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the ESR Polarimeter's readout board to perform configuration, control, and data acquisition. | 6.03.01.08.02 |
| 5.2 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.057 | Electron Detector Data | Data transfer lines will be run from the electron detector to a DAQ system. | 6.03.01.08.02 |
| 5.3 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.058 | Laser Data | Data transfer lines will be run from the laser enclosure on the beamline to a DAQ system. | 6.03.01.08.02 |
| 5.4 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.059 | Photon Detector Data | Data transfer lines will be run from the photon detector to a DAQ system. | 6.03.01.08.02 |
| 5.5 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.060 | Slow Controls | A network connection will be provided from the DAQ system to the ESR Polarimeter's slow controls interface. | 6.03.01.08.02 |
| 5.6 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.061 | Timing Interface | A fiber connection will be provided from the DAQ system to the ESR Polarimeter's readout board for timing synchronization. | 6.03.01.08.02 |
| 5.7 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.062 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the RCS polarimeter's readout board to perform configuration, control, and data acquisition. | 6.03.01.08.02 |
| 5.8 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.063 | Laser Data | Data transfer lines will be run from the laser enclosure on the beamline to a DAQ system. | 6.03.01.08.02 |
| 5.9 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.064 | Photon Detector Data | Data transfer lines will be run from the photon detector to a DAQ system. | 6.03.01.08.02 |
| 5.10 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.065 | Slow Controls | A network connection will be provided from the DAQ system to the RCS polarimeter's slow controls interface. | 6.03.01.08.02 |
| 5.11 | 6.03.01.11.01 | 6.03.01.08 | I-DET-DS-COMP-ONLINE.066 | Timing Interface | A fiber connection will be provided from the DAQ system to the RCS polarimeter's readout board for timing synchronization. | 6.03.01.08.02 |

Electron Polarimetry Systems to Electronic Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 6 |  | 6.03.01.07 |  |  | Electronic Systems |  |
| 6.1 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.057 | Bias Voltage | Bias voltage DC power will be provided from the electronics racks to support electronics the silicon photomultipliers. | 6.03.01.07 |
| 6.2 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.058 | High Voltage | High voltage DC power will be provided from the electronics racks to support silicon sensors and gas detectors. | 6.03.01.07 |
| 6.3 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.059 | Low Voltage | Low voltage DC power will be provided from the electronics racks to support electronics in the detector. | 6.03.01.07 |
| 6.4 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.060 | Bias Voltage | Bias voltage DC power will be provided from the electronics racks to support electronics the silicon photomultipliers. | 6.03.01.07 |
| 6.5 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.061 | High Voltage | High voltage DC power will be provided from the electronics racks to support silicon sensors and gas detectors. | 6.03.01.07 |
| 6.6 | 6.03.01.11.01 | 6.03.01.07 | I-DET-DS-ELEC.062 | Low Voltage | Low voltage DC power will be provided from the electronics racks to support electronics in the detector. | 6.03.01.07 |

# Electron Polarimetry Systems (DET-DS-POL-EPOL) to Detector System (DET-DS)

I-DET-DS-POL-EPOL-ESR.020	Laser Lab UPS Power

System 1:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

System 2:	Detector System (6.03.01)

Type:	ELEC

Description:	The lasers should be provided with UPS power to allow them to be shutdown gracefully in the event of a power failure or electrical transient.

Provider:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Details:	See details in the Polarimetry and Luminosity Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-POL-EPOL-RCS.016	Laser Lab UPS Power

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	Detector System (6.03.01)

Type:	ELEC

Description:	The lasers should be provided with UPS power to allow them to be shutdown gracefully in the event of a power failure or electrical transient.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Polarimetry and Luminosity Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

# Electron Polarimetry Systems (DET-DS-POL-EPOL) to Data Acquisition and Computing Systems (DET-DS-COMP)

I-DET-DS-COMP-ONLINE.056	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the ESR Polarimeter's readout board to perform configuration, control, and data acquisition.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.057	Electron Detector Data

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	DATA

Description:	Data transfer lines will be run from the electron detector  to a DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.058	Laser Data

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	DATA

Description:	Data transfer lines will be run from the laser enclosure on the beamline to a DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.059	Photon Detector Data

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	DATA

Description:	Data transfer lines will be run from the photon detector  to a DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.060	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the ESR Polarimeter's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP-SC.1

References:

I-DET-DS-COMP-ONLINE.061	Timing Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the ESR Polarimeter's readout board for timing synchronization.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.11

References:

I-DET-DS-COMP-ONLINE.062	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the RCS polarimeter's readout board to perform configuration, control, and data acquisition.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.063	Laser Data

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	DATA

Description:	Data transfer lines will be run from the laser enclosure on the beamline to a DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.064	Photon Detector Data

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	DATA

Description:	Data transfer lines will be run from the photon detector  to a DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.6

References:

I-DET-DS-COMP-ONLINE.065	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the RCS polarimeter's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP-SC.1

References:

I-DET-DS-COMP-ONLINE.066	Timing Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the RCS polarimeter's readout board for timing synchronization.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Data Acquisition and Computing Systems Interface Control Document.

Requirements:	F-DET-DS-COMP.11

References:

# Electron Polarimetry Systems (DET-DS-POL-EPOL) to Electronic Systems (DET-DS-ELEC)

I-DET-DS-ELEC.057	Bias Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	ELEC

Description:	Bias voltage DC power will be provided from the electronics racks to support electronics the silicon photomultipliers.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-ELEC.058	High Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	ELEC

Description:	High voltage DC power will be provided from the electronics racks to support silicon sensors and gas detectors.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-ELEC.059	Low Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Electron Storage Ring Polarimetry (6.03.01.11.01.01)

Type:	ELEC

Description:	Low voltage DC power will be provided from the electronics racks to support electronics in the detector.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-ELEC.060	Bias Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	ELEC

Description:	Bias voltage DC power will be provided from the electronics racks to support electronics the silicon photomultipliers.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-ELEC.061	High Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	ELEC

Description:	High voltage DC power will be provided from the electronics racks to support silicon sensors and gas detectors.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

I-DET-DS-ELEC.062	Low Voltage

System 1:	Electronic Systems (6.03.01.07)

System 2:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Type:	ELEC

Description:	Low voltage DC power will be provided from the electronics racks to support electronics in the detector.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

# Applicable Documents

List applicable documents considered to be part of this document. Applicable documents shall be obtained from the EIC SharePoint Document Center.

# Detailed change Log

| Revision | Date | Change |
| --- | --- | --- |

# References

- doi:10.17226/25171., National Academies of Sciences, Engineering, and Medicine, "An Assessment of U.S.-Based Electron-Ion Collider Science", The National Academies Press, Washington, DC, 2018.

- EIC-ORG-PLN-010, Electron-Ion Collider L1 Requirements (Global Requirements Document)

- BNL-221006-2021-FORE, EIC Conceptual Design Report

- arXiv:2103.05419, Science Requirements and Detector Concepts for the Electron-Ion Collider: EIC Yellow Report

- EIC-SEG-PLN-016, Requirements Management Plan

- EIC-SEG-PLN-022, Systems Engineering Management Plan

- EIC-SEG-PLN-020, EIC Interface Management Plan