Electron-Ion Collider, Requirements, Specifications, and Interfaces

Interface Control Document: [###]

Electron Polarimetry Systems (6.03.01.11.01) to EIN Infrastructure (6.05.01)

Prepared by:

{{Sig_es_:signer1:signature}}	Date: {{Dte_es_:signer1:date}}

Name, Role

Electron-Ion Collider at Institution

Reviewed by:

{{Sig_es_:signer2:signature}}	Date: {{Dte_es_:signer2:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer3:signature}}	Date: {{Dte_es_:signer3:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer4:signature}}	Date: {{Dte_es_:signer4:date}}

Name, Role

Electron-Ion Collider at Institution

Approved by:

{{Sig_es_:signer5:signature}}	Date: {{Dte_es_:signer5:date}}

Name, Role

Electron-Ion Collider at Institution

REVISION HISTORY

| Revision # | Effective Date | Additional Reviewers | Summary of Change |
| --- | --- | --- | --- |
| 00 |  |  | Initial release. |

TABLE OF CONTENTS

1.	Purpose and Scope	5

2.	Introduction	5

2.1	Electron Polarimetry Systems	5

2.2	Overview of Interface Relationships	5

2.3	Interface Responsibilities	5

2.4	Safety and Environmental Considerations	5

2.5	Design Considerations	5

2.6	Organization	6

3.	Interface summary	6

4.	Electron Polarimetry Systems (DET-DS-POL-EPOL) to EIN Infrastructure (EIN-INF)	7

5.	Applicable Documents	9

6.	Detailed change Log	9

7.	References	9

LIST OF ACRONYMS

| B0 | B0 is the name of the forward magnet just past the Hadron Endcap |  |
| --- | --- | --- |
| CDR | Conceptual Design Report |  |
| COTS | Commercial Off the Shelf |  |
| DAQ | Data Acquisition |  |
| DET | EIC Detector |  |
| DIRC | Detection of Internally Reflected Cherenkov Light |  |
| dRICH | Dual radiator ring imaging Cherenkov |  |
| DVCS | Deeply Virtual Compton Scattering |  |
| EIC | Electron-Ion Collider |  |
| EMCAL | Electro-magnetic Calorimeter |  |
| ESR | Electron Storage Ring |  |
| FCC | Federal Communications Commission |  |
| FDR | Final Design Review |  |
| GEM | Gas Electron Multiplier |  |
| HCAL | Hadronic Calorimeter |  |
| HSR | Hadron Storage Ring |  |
| HVAC | Heating/Ventilation/Air Conditioning |  |
| IP | Interaction Point |  |
| IR | Interaction Region |  |
| MPGD | Micro Pattern Gaseous Detectors |  |
| NAS | National Academy of Sciences |  |
| NEC | National Electric Code |  |
| NEMA | National Electrical Manufacturers Association |  |
| NFPA | National Fire Protection Association |  |
| NRTL | Nationally Recognized Testing Laboratory |  |
| PID | Particle Identification |  |
| PRR | Production Readiness Review |  |
| PWO | PbWO4 |  |
| RCS | Rapid Cycling Synchrotron |  |
| TBD | To Be Determined |  |
| UL | Underwriter Laboratories |  |
| WBS | Work Break Down Structure |  |

# Interface Control Document:

Electron Polarimetry Systems (6.03.01.11.01) to EIN Infrastructure (6.05.01)

# Purpose and Scope

This document records the agreed upon interfaces between the Electron Polarimetry Systems and other sub-systems within the EIN Infrastructure. These interfaces are based on the system requirements that are necessary to integrate these sub-systems as part of the Electron Ion Collider Project.

# Introduction

These interfaces describe the relationships between the Electron Polarimetry Systems and the EIN Infrastructure including (examples by inclusion) located in (areas by inclusion).

## Electron Polarimetry Systems

Provide an introductory description of your sub-system and an overview of the things that it receives, provides, supports, constrains, or otherwise requires as part of its function --- specifically if these things are manifested as interfaces.

EIN Infrastructure (EIN-INF): Description of the TYPES of interfaces that exist between the ICD reference system and this sub-system, and a BRIEF overview of the roles they play.

## Overview of Interface Relationships

The following are the sub-systems within the EIN Infrastructure that have interfaces connected to the Electron Polarimetry Systems.

## Interface Responsibilities

The various ownerships of responsibilities may be listed here. However, this section might also refer to the Provider section of the interface detail if all pertinent responsibilities are listed there. If this is the case, simply enter: “See the Provider section within the interface details for information about the responsibilities associated with individual interfaces.”

## Safety and Environmental Considerations

General safety and environmental considerations are identified here. Any considerations that are specific to the individual sub-system, will be addressed in external safety documents and are referenced here.

### Considerations for all systems

Add general safety and environmental considerations here.

### Special considerations and references

Add references here as necessary.

## Design Considerations

Notes here about general design considerations.

## Organization

The interfaces in this document are grouped by sub-system as identified in the sub-system identifier. All interfaces between the Electron Polarimetry Systems and a related sub-system will be included in a single section. Entries within that section will be sorted by the interface identifier or WBS number, as appropriate.

# Interface summary

This tables in this section provide a list of all interfaces that are defined within this document. The interfaces are grouped by sub-system/WBS. Each table has the following fields:

Section: the section number in this document where the interface is addressed.

WBS (1): the WBS number within the ICD reference system, unless the reference system is the owner.

WBS (2): the WBS number for the connected system.

ID: the interface identifier as defined in the Interface Requirement Document (IRD).

Name: the name of the interface as defined in the IRD.

Description: the description of the interface as defined in the IRD.

Owner: identifies the WBS number of the entity that is responsible for ensuring the interface is provided and that it meets validation/verification requirements.

Electron Polarimetry Systems to EIN Infrastructure

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 6.05.01 |  |  | EIN Infrastructure |  |
| 4.1 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.008 | Compton Laser Lab Access | The laser lab should have a protected pathway that allows it to be accessed during beam operations. | 6.03.01.11.01.02 |
| 4.2 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.009 | Compton Laser Lab Placement | A laser lab will need to be provided to house the primary lasers for the Compton and RCS polarimeters, and must be within 300 meters of the ESR and RCS Compton lasers. | 6.03.01.11.01.02 |
| 4.3 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.010 | Compton Laser Lab Shielding | The laser lab should be shielded adequately that it can be accessed during normal beam operations. | 6.03.01.11.01.02 |
| 4.4 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.013 | Laser Lab Cooling | The laser lab should have an HVAC system that maintains a comfortable temperature. | 6.03.01.11.01.02 |
| 4.5 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.014 | Laser Lab Interlock | The laser lab must have an safety interlock system to control access to the room during operation. | 6.03.01.11.01.02 |
| 4.6 | 6.03.01.11.01 | 6.05.01 | I-DET-DS-POL-EPOL-RCS.015 | Laser Lab Power | The equipment in the laser lab will require standard single phase power. | 6.03.01.11.01.02 |

# Electron Polarimetry Systems (DET-DS-POL-EPOL) to EIN Infrastructure (EIN-INF)

I-DET-DS-POL-EPOL-RCS.008	Compton Laser Lab Access

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	ENV

Description:	The laser lab should have a protected pathway that allows it to be accessed during beam operations.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.6

References:

I-DET-DS-POL-EPOL-RCS.009	Compton Laser Lab Placement

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	SPACE

Description:	A laser lab will need to be provided to house the primary lasers for the Compton and RCS polarimeters, and must be within 300 meters of the ESR and RCS Compton lasers.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.1

References:

I-DET-DS-POL-EPOL-RCS.010	Compton Laser Lab Shielding

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	ENV

Description:	The laser lab should be shielded adequately that it can be accessed during normal beam operations.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.6

References:

I-DET-DS-POL-EPOL-RCS.013	Laser Lab Cooling

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	COOL

Description:	The laser lab should have an HVAC system that maintains a comfortable temperature.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.3

References:

I-DET-DS-POL-EPOL-RCS.014	Laser Lab Interlock

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	CONTROL

Description:	The laser lab must have an safety interlock system to control access to the room during operation.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.7

References:

I-DET-DS-POL-EPOL-RCS.015	Laser Lab Power

System 1:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

System 2:	EIN Infrastructure (6.05.01)

Type:	ELEC

Description:	The equipment in the laser lab will require standard single phase power.

Provider:	Rapid Cycling Synchrotron Polarimetry (6.03.01.11.01.02)

Details:	See details in the Detector System Interface Control Document.

Requirements:	P-DET-DS-POL.4

References:

# Applicable Documents

List applicable documents considered to be part of this document. Applicable documents shall be obtained from the EIC SharePoint Document Center.

# Detailed change Log

| Revision | Date | Change |
| --- | --- | --- |

# References

- doi:10.17226/25171., National Academies of Sciences, Engineering, and Medicine, "An Assessment of U.S.-Based Electron-Ion Collider Science", The National Academies Press, Washington, DC, 2018.

- EIC-ORG-PLN-010, Electron-Ion Collider L1 Requirements (Global Requirements Document)

- BNL-221006-2021-FORE, EIC Conceptual Design Report

- arXiv:2103.05419, Science Requirements and Detector Concepts for the Electron-Ion Collider: EIC Yellow Report

- EIC-SEG-PLN-016, Requirements Management Plan

- EIC-SEG-PLN-022, Systems Engineering Management Plan

- EIC-SEG-PLN-020, EIC Interface Management Plan