Electron-Ion Collider, Requirements, Specifications, and Interfaces

Interface Control Document: [###]

Particle Identification Systems (6.03.01.03) to Data Acquisition and Computing Systems (6.03.01.08)

Prepared by:

{{Sig_es_:signer1:signature}}	Date: {{Dte_es_:signer1:date}}

Name, Role

Electron-Ion Collider at Institution

Reviewed by:

{{Sig_es_:signer2:signature}}	Date: {{Dte_es_:signer2:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer3:signature}}	Date: {{Dte_es_:signer3:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer4:signature}}	Date: {{Dte_es_:signer4:date}}

Name, Role

Electron-Ion Collider at Institution

Approved by:

{{Sig_es_:signer5:signature}}	Date: {{Dte_es_:signer5:date}}

Name, Role

Electron-Ion Collider at Institution

REVISION HISTORY

| Revision # | Effective Date | Additional Reviewers | Summary of Change |
| --- | --- | --- | --- |
| 00 |  |  | Initial release. |

TABLE OF CONTENTS

1.	Purpose and Scope	5

2.	Introduction	5

2.1	Particle Identification Systems	5

2.2	Overview of Interface Relationships	5

2.3	Safety and Environmental Considerations	6

2.4	Design Considerations	6

2.5	Organization	6

3.	Interface summary	6

4.	Particle Identification Systems (DET-PID) to Online DAQ and Computing Systems (DET-COMP-ONLINE)	27

5.	Particle Identification Systems (DET-PID) to  (DET-DS)	30

6.	Particle Identification Systems (DET-PID) to Barrel EMCal Systems (DET-ECAL-BAR)	30

7.	Particle Identification Systems (DET-PID) to Backward EMCal Systems (DET-ECAL-BCK)	32

8.	Particle Identification Systems (DET-PID) to Forward EMCal Systems (DET-ECAL-FWD)	33

9.	Particle Identification Systems (DET-PID) to Electronic Systems (DET-ELEC)	34

10.	Particle Identification Systems (DET-PID) to Barrel HCal Systems (DET-HCAL-BAR)	35

11.	Particle Identification Systems (DET-PID) to Backward HCal Systems (DET-HCAL-BCK)	36

12.	Particle Identification Systems (DET-PID) to Barrel Detector Structures (DET-INF-BAR)	36

13.	Particle Identification Systems (DET-PID) to Hadron Endcap Structures (DET-INF-FWD)	38

14.	Particle Identification Systems (DET-PID) to Detector Infrastructure and Utilities Integration (DET-INF-INT)	39

15.	Particle Identification Systems (DET-PID) to Solenoid Magnet (DET-MAG)	49

16.	Particle Identification Systems (DET-PID) to Barrel Tracking Systems (DET-TRAK-BAR)	49

17.	Applicable Documents	50

18.	Detailed change Log	50

19.	References	51

LIST OF ACRONYMS

| B0 | B0 is the name of the forward magnet just past the Hadron Endcap |  |
| --- | --- | --- |
| CDR | Conceptual Design Report |  |
| COTS | Commercial Off the Shelf |  |
| DAQ | Data Acquisition |  |
| DET | EIC Detector |  |
| DIRC | Detection of Internally Reflected Cherenkov Light |  |
| dRICH | Dual radiator ring imaging Cherenkov |  |
| DVCS | Deeply Virtual Compton Scattering |  |
| EIC | Electron-Ion Collider |  |
| EMCAL | Electro-magnetic Calorimeter |  |
| ESR | Electron Storage Ring |  |
| FCC | Federal Communications Commission |  |
| FDR | Final Design Review |  |
| GEM | Gas Electron Multiplier |  |
| HCAL | Hadronic Calorimeter |  |
| HSR | Hadron Storage Ring |  |
| HVAC | Heating/Ventilation/Air Conditioning |  |
| IP | Interaction Point |  |
| IR | Interaction Region |  |
| MPGD | Micro Pattern Gaseous Detectors |  |
| NAS | National Academy of Sciences |  |
| NEC | National Electric Code |  |
| NEMA | National Electrical Manufacturers Association |  |
| NFPA | National Fire Protection Association |  |
| NRTL | Nationally Recognized Testing Laboratory |  |
| PID | Particle Identification |  |
| PRR | Production Readiness Review |  |
| PWO | PbWO4 |  |
| RCS | Rapid Cycling Synchrotron |  |
| TBD | To Be Determined |  |
| UL | Underwriter Laboratories |  |
| WBS | Work Break Down Structure |  |

# Interface Control Document:

Particle Identification Systems (6.03.01.03) to Data Acquisition and Computing Systems (6.03.01.08)

# Purpose and Scope

This document records the agreed upon interfaces between the Particle Identification Systems and other sub-systems within the Data Acquisition and Computing Systems. These interfaces are based on the system requirements that are necessary to integrate these sub-systems as part of the Electron Ion Collider Project.

# Introduction

These interfaces describe the relationships between the Particle Identification Systems and the Data Acquisition and Computing Systems including (examples by inclusion) located in (areas by inclusion).

## Particle Identification Systems

Provide an introductory description of your sub-system and an overview of the things that it receives, provides, supports, constrains, or otherwise requires as part of its function --- specifically if these things are manifested as interfaces.

## Overview of Interface Relationships

The following are the sub-systems within the Data Acquisition and Computing Systems that have interfaces connected to the Particle Identification Systems.

Online DAQ and Computing Systems (DET-COMP-ONLINE): Identify the general types of interface relationships between the ICD reference system and this sub-system.

(DET-DS): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Barrel EMCal Systems (DET-ECAL-BAR): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Backward EMCal Systems (DET-ECAL-BCK): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Forward EMCal Systems (DET-ECAL-FWD): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Electronic Systems (DET-ELEC): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Barrel HCal Systems (DET-HCAL-BAR): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Backward HCal Systems (DET-HCAL-BCK): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Barrel Detector Structures (DET-INF-BAR): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Hadron Endcap Structures (DET-INF-FWD): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Detector Infrastructure and Utilities Integration (DET-INF-INT): Identify the general types of interface relationships between the ICD reference system and this sub-system.

Solenoid Magnet (DET-MAG): The size and position of the solenoid magnet is limited by adjacent particle identification (PID) systems.

Barrel Tracking Systems (DET-TRAK-BAR): Identify the general types of interface relationships between the ICD reference system and this sub-system.

## Safety and Environmental Considerations

General safety and environmental considerations are identified here. Any considerations that are specific to the individual sub-system, will be addressed in external safety documents and are referenced here.

### Considerations for all systems

Add general safety and environmental considerations here.

### Special considerations and references

Add references here as necessary.

## Design Considerations

Notes here about general design considerations.

## Organization

The interfaces in this document are grouped by sub-system as identified in the sub-system identifier. All interfaces between the Particle Identification Systems and a related sub-system will be included in a single section. Entries within that section will be sorted by the interface identifier or WBS number, as appropriate.

# Interface summary

This tables in this section provide a list of all interfaces that are defined within this document. The interfaces are grouped by sub-system/WBS. Each table has the following fields:

Section: the section number in this document where the interface is addressed.

WBS (1): the WBS number within the ICD reference system, unless the reference system is the owner.

WBS (2): the WBS number for the connected system.

ID: the interface identifier as defined in the Interface Requirement Document (IRD).

Name: the name of the interface as defined in the IRD.

Description: the description of the interface as defined in the IRD.

Owner: identifies the WBS number of the entity that is responsible for ensuring the interface is provided and that it meets validation/verification requirements.

Particle Identification Systems to Online DAQ and Computing Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 6.03.01.08.02 |  |  | Online DAQ and Computing Systems |  |
| 4.1 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.033 | Data Transfer and Control Interface | A fiber connection will be provided from the DAQ system to the barrel PID detector's readout board to perform configuration, control, data acquisition, and timing. | 6.03.01.08.02 |
| 4.2 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.034 | Slow Controls | A network connection will be provided from the DAQ system to the barrel PID detector's slow controls interface. | 6.03.01.08.02 |
| 4.3 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.035 | Data Acquisition | Signal cables will run from the DIRC electronics to the DAQ system. | 6.03.01.08.02 |
| 4.4 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.036 | Slow Control Interface | Signal cables from environmental sensors will run from the DIRC electronics to the DAQ system to provide detector shutdown/protection system. | 6.03.01.08.02 |
| 4.5 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.037 | Data Acquisition | Signal cables will run from the DIRC electronics to the DAQ system. | 6.03.01.08.02 |
| 4.6 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.038 | Slow Control Interface | Signal cables from environmental sensors will run from the DIRC electronics to the DAQ system to provide detector shutdown/protection system. | 6.03.01.08.02 |
| 4.7 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.039 | Data Acquisition | Signal cables will run from the pfRICH/mRICH electronics to the DAQ system. | 6.03.01.08.02 |
| 4.8 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.040 | Slow Control Interface | Signal cables from environmental sensors will run from the pfRICH/mRICH electronics to the DAQ system to provide a detector shutdown/protection system. | 6.03.01.08.02 |
| 4.9 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.041 | Data Acquisition | Signal cables will run from the dRICH electronics to the DAQ system. | 6.03.01.08.02 |
| 4.10 | 6.03.01.03 | 6.03.01.08.02 | I-DET-COMP-ONLINE.042 | Slow Control Interface | Signal cables from environmental sensors will run from the cold photosensors to the DAQ system to provide a detector shutdown/protection system. | 6.03.01.08.02 |
| 4.11 | 6.03.01.03 | 6.03.01.08.02 | I-DET-PID-BCK-RICH.001 | Light Pulser System | The light pulser system will require synchronization using a clock that will be provided by data acquisition. | 6.03.01.03 |
| 4.12 | 6.03.01.03 | 6.03.01.08.02 | I-DET-PID-FWD-RICH.001 | Light Pulser System | The light pulser system will require synchronization using a clock that will be provided by data acquisition. | 6.03.01.03 |

Particle Identification Systems to

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |
| 5.1 | 6.03.01.03 |  | I-DET-INF-INT.003 | Cabling/Services Conduit | The global support tube will provide integrated pathways for cabling and services to be delivered from the interior detectors (pf RICH, inner MPGD, barrel ToF and silicon trackers) to the exterior infrastructure. | 6.03.01.09.04 |

Particle Identification Systems to Barrel EMCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 6 |  | 6.03.01.04 |  |  | Barrel EMCal Systems |  |
| 6.1 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-BAR.003 | Support Structure | The DIRC bar boxes will be supported by the global support tube inside the barrel Electromagnetic Calorimeter, that allows the boxes to be extracted using a system of rollers. | 6.03.01.09.01 |
| 6.2 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.013 | Space Constraint | The backward position and shape of the barrel EMCAL is limited by the size and shape of the DIRC readout supports. Changes to the size or position of either must be coordinated with the other. | 6.03.01.09.04 |
| 6.3 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.014 | Space Constraint | The maximum size of the DIRC is limited to the interior bore of the barrel ECAL (and its support structures). Modifications to either must be coordinated. | 6.03.01.09.04 |
| 6.4 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.015 | Space Constraint | The forward position and shape of the barrel ECAL is limited by the backward face of the Dual RICH detector and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Backward EMCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 7 |  | 6.03.01.04 |  |  | Backward EMCal Systems |  |
| 7.1 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-BAR.005 | Weight Transfer | The weight of the backward ECAL will be transferred to the global support tube and must be accommodated by all subsequent support systems. | 6.03.01.09.01 |
| 7.2 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-BAR.006 | EMCal Support System | The global support tube will provide support for the backward electromagnetic calorimeter. | 6.03.01.09.01 |
| 7.3 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.017 | Space Constraint | The maximum backward location for the DIRC is limited by the position of the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 7.4 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.018 | Space Constraint | The exterior radius of the backward ECAL is limited by the interior bore of the global support tube and the space needed for all the services needed by the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 7.5 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.019 | Heat Mitigation | The backward ECAL must mitigated the heat generated by the backward RICH detector (pfRICH) | 6.03.01.09.04 |
| 7.6 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.020 | Space Constraint | The position of the backward ECAL in the forward direction is limited by the backward face of the pfRICH detector. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Forward EMCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 8 |  | 6.03.01.04 |  |  | Forward EMCal Systems |  |
| 8.1 | 6.03.01.03 | 6.03.01.04 | I-DET-INF-INT.026 | Space Constraint | The maximum forward location for the dRICH is limited by the forward ECAL and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Electronic Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 9 |  | 6.03.01.07 |  |  | Electronic Systems |  |
| 9.1 | 6.03.01.03 | 6.03.01.07 | I-DET-ELEC.013 | Power | High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform | 6.03.01.07 |
| 9.2 | 6.03.01.03 | 6.03.01.07 | I-DET-ELEC.014 | Power | High voltage and low voltage DC power will be provided from the electronics racks on the south platform. | 6.03.01.07 |
| 9.3 | 6.03.01.03 | 6.03.01.07 | I-DET-ELEC.015 | Power | High voltage and low voltage DC power will be provided from the electronics racks on the south platform. | 6.03.01.07 |
| 9.4 | 6.03.01.03 | 6.03.01.07 | I-DET-ELEC.016 | Power | High voltage and low voltage DC power will be provided from the electronics racks on the south platform. | 6.03.01.07 |
| 9.5 | 6.03.01.03 | 6.03.01.07 | I-DET-ELEC.017 | Power | Low voltage and bias voltage DC power will be provided from the electronics racks on the south platform. | 6.03.01.07 |

Particle Identification Systems to Barrel HCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 10 |  | 6.03.01.05 |  |  | Barrel HCal Systems |  |
| 10.1 | 6.03.01.03 | 6.03.01.05 | I-DET-INF-BAR.012 | Dual RICH Support System | The Dual RICH will be supported by a structural system within the barrel hadron calorimeter. | 6.03.01.09.01 |
| 10.2 | 6.03.01.03 | 6.03.01.05 | I-DET-INF-INT.033 | Space Constraint | The size of the dRICH is limited by the interior bore of the barrel HCAL, and must provide adequate space for cables and services to itself and the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Backward HCal Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 11 |  | 6.03.01.05 |  |  | Backward HCal Systems |  |
| 11.1 | 6.03.01.03 | 6.03.01.05 | I-DET-INF-INT.036 | Space Constraint | The maximum backward location for the DIRC is limited by the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Barrel Detector Structures

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 12 |  | 6.03.01.09.01 |  |  | Barrel Detector Structures |  |
| 12.1 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.003 | Support Structure | The DIRC bar boxes will be supported by the global support tube inside the barrel Electromagnetic Calorimeter, that allows the boxes to be extracted using a system of rollers. | 6.03.01.09.01 |
| 12.2 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.005 | Weight Transfer | The weight of the backward ECAL will be transferred to the global support tube and must be accommodated by all subsequent support systems. | 6.03.01.09.01 |
| 12.3 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.006 | EMCal Support System | The global support tube will provide support for the backward electromagnetic calorimeter. | 6.03.01.09.01 |
| 12.4 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.012 | Dual RICH Support System | The Dual RICH will be supported by a structural system within the barrel hadron calorimeter. | 6.03.01.09.01 |
| 12.5 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.016 | DIRC Readout Supports | The DIRC prism box containing the photosensor readouts, will be supported by an external structure supporting through the global support tube | 6.03.01.09.01 |
| 12.6 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.017 | Structural Support | The global support tube will provide support for the backward PID detector system. | 6.03.01.09.01 |
| 12.7 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.018 | Barrel TOF Support | The global support tube will provide support for the barrel time-of-flight system. | 6.03.01.09.01 |
| 12.8 | 6.03.01.03 | 6.03.01.09.01 | I-DET-INF-BAR.019 | Barrel DIRC Support | The global support tube will provide support for the DIRC system. | 6.03.01.09.01 |

Particle Identification Systems to Hadron Endcap Structures

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 13 |  | 6.03.01.09.03 |  |  | Hadron Endcap Structures |  |
| 13.1 | 6.03.01.03 | 6.03.01.09.03 | I-DET-INF-FWD.010 | Space Constraint | The interior radius of the dRICH is governed by the size of the beamline and its associated flanges and support system. | 6.03.01.09.03 |
| 13.2 | 6.03.01.03 | 6.03.01.09.03 | I-DET-INF-FWD.011 | Space Constraint | The maximum forward location for the tracking system is limited by the position of the forward AC LGAD Time of Flight Detector. Modifications to either must be coordinated. | 6.03.01.09.03 |

Particle Identification Systems to Detector Infrastructure and Utilities Integration

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 14 |  | 6.03.01.09.04 |  |  | Detector Infrastructure and Utilities Integration |  |
| 14.1 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.003 | Cabling/Services Conduit | The global support tube will provide integrated pathways for cabling and services to be delivered from the interior detectors (pf RICH, inner MPGD, barrel ToF and silicon trackers) to the exterior infrastructure. | 6.03.01.09.04 |
| 14.2 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.013 | Space Constraint | The backward position and shape of the barrel EMCAL is limited by the size and shape of the DIRC readout supports. Changes to the size or position of either must be coordinated with the other. | 6.03.01.09.04 |
| 14.3 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.014 | Space Constraint | The maximum size of the DIRC is limited to the interior bore of the barrel ECAL (and its support structures). Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.4 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.015 | Space Constraint | The forward position and shape of the barrel ECAL is limited by the backward face of the Dual RICH detector and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.5 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.017 | Space Constraint | The maximum backward location for the DIRC is limited by the position of the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.6 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.018 | Space Constraint | The exterior radius of the backward ECAL is limited by the interior bore of the global support tube and the space needed for all the services needed by the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.7 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.019 | Heat Mitigation | The backward ECAL must mitigated the heat generated by the backward RICH detector (pfRICH) | 6.03.01.09.04 |
| 14.8 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.020 | Space Constraint | The position of the backward ECAL in the forward direction is limited by the backward face of the pfRICH detector. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.9 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.026 | Space Constraint | The maximum forward location for the dRICH is limited by the forward ECAL and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.10 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.033 | Space Constraint | The size of the dRICH is limited by the interior bore of the barrel HCAL, and must provide adequate space for cables and services to itself and the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.11 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.036 | Space Constraint | The maximum backward location for the DIRC is limited by the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.12 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.085 | Process Cooling | The heat generated by the photo-multiplier tubes and associated electronics must be removed using a process cooling system. | 6.03.01.09.04 |
| 14.13 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.086 | Process Cooling | The heat generated by the detector and its electronics must be removed using a process cooling system. | 6.03.01.09.04 |
| 14.14 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.087 | Process Cooling | The heat generated by the photon-sensors and associated electronics must be removed using a process cooling system. | 6.03.01.09.04 |
| 14.15 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.088 | Dry Nitrogen | A continuous flow of dry nitrogen will be required to protect the aerogel radiator. | 6.03.01.09.04 |
| 14.16 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.089 | Photosensor Cooling System | A fluid cooling system will be required to keep the operating temperature of the photosensors at -30 degrees Celsius. | 6.03.01.09.04 |
| 14.17 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.090 | Gas Recovery System | A recovery system will need to be included for the radiator gas used by the dRICH to prevent accidental release. | 6.03.01.09.04 |
| 14.18 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.091 | Insulation | Sufficient insulation will need to be added around all coolant lines to prevent condensation and ensure that ice doesn't form. | 6.03.01.09.04 |
| 14.19 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.092 | Dry Nitrogen for Aerogel | A continuous flow of dry nitrogen will be required to protect the aerogel radiator. | 6.03.01.09.04 |
| 14.20 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.093 | Dry Nitrogen for Photosensors | This gas will be required to create a protective atmosphere for the cold photosensors and to prevent condensation and freezing. | 6.03.01.09.04 |
| 14.21 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.094 | Radiator Gas | A continuous recirculating flow of radiator gas will be required. | 6.03.01.09.04 |
| 14.22 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.097 | Space Constraint | The maximum forward location for the solenoid is limited by the position of the Dual RICH detector and the cabling plenum (gap) between them. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.23 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.098 | Space Constraint | The exterior radius of the pfRICH is limited by the interior bore of the global support tube and the space needed for services for the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.24 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.099 | Space Constraint | The exterior radius of the pfRICH is limited by the interior bore of the global support tube and the space needed for services for the interior detectors. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.25 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.100 | Space Constraint | The maximum forward location for the DIRC is limited by the position of the dRICH detector and the cabling plenum between them. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.26 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.101 | Service Pathway | Conduits must be provided within the global support tube that are adequate to deliver services (power, signal, cooling) to the barrel tracking detectors. | 6.03.01.09.04 |
| 14.27 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.104 | Space Constraint | The maximum forward location for the DIRC is limited by the service gap in front of the forward RICH detector. | 6.03.01.09.04 |
| 14.28 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.105 | Space Constraint | The maximum backward location for the barrel Time of Flight detector is limited by the position of the pfRICH detector and the adjacent cabling pathway. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.29 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.106 | Space Constraint | The maximum forward location for the barrel Time of Flight detector is limited by the position of the forward Time of Flight detector and the adjacent cabling pathway. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.30 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.107 | Space Constraint | The maximum size of the silicon trackers is limited by the interior radius of the pixel support tube. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.31 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.108 | Space Constraint | The maximum backward location for the tracking system is limited by the position of the pfRICH. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 14.32 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.109 | Space Constraint | The interior radius of the pfRICH is governed by the size of the beamline and its associated flanges and support system. | 6.03.01.09.04 |
| 14.33 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.138 | Space Constraint | Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector. | 6.03.01.09.04 |
| 14.34 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.139 | Space Constraint | Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector. | 6.03.01.09.04 |
| 14.35 | 6.03.01.03 | 6.03.01.09.04 | I-DET-INF-INT.140 | Space Constraint | Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector. | 6.03.01.09.04 |

Particle Identification Systems to Solenoid Magnet

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 15 |  | 6.03.01.06 |  |  | Solenoid Magnet |  |
| 15.1 | 6.03.01.03 | 6.03.01.06 | I-DET-INF-BAR.016 | DIRC Readout Supports | The DIRC prism box containing the photosensor readouts, will be supported by an external structure supporting through the global support tube | 6.03.01.09.01 |
| 15.2 | 6.03.01.03 | 6.03.01.06 | I-DET-INF-INT.097 | Space Constraint | The maximum forward location for the solenoid is limited by the position of the Dual RICH detector and the cabling plenum (gap) between them. Modifications to either must be coordinated. | 6.03.01.09.04 |

Particle Identification Systems to Barrel Tracking Systems

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 16 |  | 6.03.01.02 |  |  | Barrel Tracking Systems |  |
| 16.1 | 6.03.01.03 | 6.03.01.02 | I-DET-INF-FWD.011 | Space Constraint | The maximum forward location for the tracking system is limited by the position of the forward AC LGAD Time of Flight Detector. Modifications to either must be coordinated. | 6.03.01.09.03 |
| 16.2 | 6.03.01.03 | 6.03.01.02 | I-DET-INF-INT.101 | Service Pathway | Conduits must be provided within the global support tube that are adequate to deliver services (power, signal, cooling) to the barrel tracking detectors. | 6.03.01.09.04 |
| 16.3 | 6.03.01.03 | 6.03.01.02 | I-DET-INF-INT.107 | Space Constraint | The maximum size of the silicon trackers is limited by the interior radius of the pixel support tube. Modifications to either must be coordinated. | 6.03.01.09.04 |
| 16.4 | 6.03.01.03 | 6.03.01.02 | I-DET-INF-INT.108 | Space Constraint | The maximum backward location for the tracking system is limited by the position of the pfRICH. Modifications to either must be coordinated. | 6.03.01.09.04 |

# Particle Identification Systems (DET-PID) to Online DAQ and Computing Systems (DET-COMP-ONLINE)

I-DET-COMP-ONLINE.033	Data Transfer and Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel Particle ID Systems (6.03.01.03)

Type:	DATA

Description:	A fiber connection will be provided from the DAQ system to the barrel PID detector's readout board to perform configuration, control, data acquisition, and timing.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6, F-DET-COMP.11

References:

I-DET-COMP-ONLINE.034	Slow Controls

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel Particle ID Systems (6.03.01.03)

Type:	CONTROL

Description:	A network connection will be provided from the DAQ system to the barrel PID detector's slow controls interface.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.035	Data Acquisition

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	DATA

Description:	Signal cables will run from the DIRC electronics to the DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.036	Slow Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	CONTROL

Description:	Signal cables from environmental sensors will run from the DIRC electronics to the DAQ system to provide detector shutdown/protection system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-COMP-ONLINE.037	Data Acquisition

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	DATA

Description:	Signal cables will run from the DIRC electronics to the DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.038	Slow Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	CONTROL

Description:	Signal cables from environmental sensors will run from the DIRC electronics to the DAQ system to provide detector shutdown/protection system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.039	Data Acquisition

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	DATA

Description:	Signal cables will run from the pfRICH/mRICH electronics to the DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.040	Slow Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	CONTROL

Description:	Signal cables from environmental sensors will run from the pfRICH/mRICH electronics to the DAQ system to provide a detector shutdown/protection system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.041	Data Acquisition

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	DATA

Description:	Signal cables will run from the dRICH electronics to the DAQ system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP.6

References:

I-DET-COMP-ONLINE.042	Slow Control Interface

System 1:	Online DAQ and Computing Systems (6.03.01.08.02)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	CONTROL

Description:	Signal cables from environmental sensors will run from the cold photosensors to the DAQ system to provide a detector shutdown/protection system.

Provider:	Online DAQ and Computing Systems (6.03.01.08.02)

Details:	See details in the Online DAQ and Computing Systems Interface Control Document.

Requirements:	F-DET-COMP-SC.1

References:

I-DET-PID-BCK-RICH.001	Light Pulser System

System 1:	Backward RICH Detector Systems (6.03.01.03)

System 2:	Online DAQ and Computing Systems (6.03.01.08.02)

Type:	CONTROL

Description:	The light pulser system will require synchronization using a clock that will be provided by data acquisition.

Provider:	Backward RICH Detector Systems (6.03.01.03)

Details:	See details in the Backward Particle ID Systems Interface Control Document.

Requirements:	P-DET-PID-BCK-RICH.4

References:

I-DET-PID-FWD-RICH.001	Light Pulser System

System 1:	Forward RICH Detector Systems (6.03.01.03)

System 2:	Online DAQ and Computing Systems (6.03.01.08.02)

Type:	CONTROL

Description:	The light pulser system will require synchronization using a clock that will be provided by data acquisition.

Provider:	Forward RICH Detector Systems (6.03.01.03)

Details:	See details in the Forward Particle ID Systems Interface Control Document.

Requirements:	P-DET-PID-FWD-RICH.4

References:

# Particle Identification Systems (DET-PID) to  (DET-DS)

I-DET-INF-INT.003	Cabling/Services Conduit

System 1:	DET-DS (DET-DS)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The global support tube will provide integrated pathways for cabling and services to be delivered from the interior detectors (pf RICH, inner MPGD, barrel ToF and silicon trackers) to the exterior infrastructure.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.4, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Barrel EMCal Systems (DET-ECAL-BAR)

I-DET-INF-BAR.003	Support Structure

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The DIRC bar boxes will be supported by the global support tube inside the barrel Electromagnetic Calorimeter, that allows the boxes to be extracted using a system of rollers.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-ECAL.2, P-DET-PID.4, P-DET-PID.5

References:

I-DET-INF-INT.013	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The backward position and shape of the barrel EMCAL is limited by the size and shape of the DIRC readout supports. Changes to the size or position of either must be coordinated with the other.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.014	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum size of the DIRC is limited to the interior bore of the barrel ECAL (and its support structures). Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.015	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The forward position and shape of the barrel ECAL is limited by the backward face of the Dual RICH detector and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Backward EMCal Systems (DET-ECAL-BCK)

I-DET-INF-BAR.005	Weight Transfer

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The weight of the backward ECAL will be transferred to the global support tube and must be accommodated by all subsequent support systems.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.2, P-DET-HCAL.2

References:

I-DET-INF-BAR.006	EMCal Support System

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The global support tube will provide support for the backward electromagnetic calorimeter.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.2, P-DET-PID.4

References:

I-DET-INF-INT.017	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum backward location for the DIRC is limited by the position of the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.018	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The exterior radius of the backward ECAL is limited by the interior bore of the global support tube and the space needed for all the services needed by the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.019	Heat Mitigation

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	ENV

Description:	The backward ECAL must mitigated the heat generated by the backward RICH detector (pfRICH)

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.3

References:

I-DET-INF-INT.020	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Backward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The position of the backward ECAL in the forward direction is limited by the backward face of the pfRICH detector. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Forward EMCal Systems (DET-ECAL-FWD)

I-DET-INF-INT.026	Space Constraint

System 1:	Forward EMCal Systems (6.03.01.04)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the dRICH is limited by the forward ECAL and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Electronic Systems (DET-ELEC)

I-DET-ELEC.013	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Barrel Particle ID Systems (6.03.01.03)

Type:	ELEC

Description:	High voltage, low voltage, and bias voltage DC power will be provided from the electronics racks on the south platform

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-PID.2

References:

I-DET-ELEC.014	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	ELEC

Description:	High voltage and low voltage DC power will be provided from the electronics racks on the south platform.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-PID.2

References:

I-DET-ELEC.015	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	ELEC

Description:	High voltage and low voltage DC power will be provided from the electronics racks on the south platform.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-PID.2

References:

I-DET-ELEC.016	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	ELEC

Description:	High voltage and low voltage DC power will be provided from the electronics racks on the south platform.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-PID.2

References:

I-DET-ELEC.017	Power

System 1:	Electronic Systems (6.03.01.07)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	ELEC

Description:	Low voltage and bias voltage DC power will be provided from the electronics racks on the south platform.

Provider:	Electronic Systems (6.03.01.07)

Details:	See details in the Electronic Systems Interface Control Document.

Requirements:	P-DET-PID.2

References:

# Particle Identification Systems (DET-PID) to Barrel HCal Systems (DET-HCAL-BAR)

I-DET-INF-BAR.012	Dual RICH Support System

System 1:	Barrel HCal Systems (6.03.01.05)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The Dual RICH will be supported by a structural system within the barrel hadron calorimeter.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-HCAL.2, P-DET-PID.4

References:

I-DET-INF-INT.033	Space Constraint

System 1:	Barrel HCal Systems (6.03.01.05)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The size of the dRICH is limited by the interior bore of the barrel HCAL, and must provide adequate space for cables and services to itself and the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-HCAL.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Backward HCal Systems (DET-HCAL-BCK)

I-DET-INF-INT.036	Space Constraint

System 1:	Backward HCal Systems (6.03.01.05)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum backward location for the DIRC is limited by the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-HCAL.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Barrel Detector Structures (DET-INF-BAR)

I-DET-INF-BAR.003	Support Structure

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The DIRC bar boxes will be supported by the global support tube inside the barrel Electromagnetic Calorimeter, that allows the boxes to be extracted using a system of rollers.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-ECAL.2, P-DET-PID.4, P-DET-PID.5

References:

I-DET-INF-BAR.005	Weight Transfer

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The weight of the backward ECAL will be transferred to the global support tube and must be accommodated by all subsequent support systems.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.2, P-DET-HCAL.2

References:

I-DET-INF-BAR.006	EMCal Support System

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The global support tube will provide support for the backward electromagnetic calorimeter.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-ECAL.2, P-DET-PID.4

References:

I-DET-INF-BAR.012	Dual RICH Support System

System 1:	Barrel HCal Systems (6.03.01.05)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The Dual RICH will be supported by a structural system within the barrel hadron calorimeter.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-HCAL.2, P-DET-PID.4

References:

I-DET-INF-BAR.016	DIRC Readout Supports

System 1:	Solenoid Magnet (6.03.01.06)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The DIRC prism box containing the photosensor readouts, will be supported by an external structure supporting through the global support tube

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-MAG.1, P-DET-MAG.2, P-DET-PID.4

References:

I-DET-INF-BAR.017	Structural Support

System 1:	Barrel Detector Structures (6.03.01.09.01)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The global support tube will provide support for the backward PID detector system.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-PID.4, P-DET-PID.5

References:

I-DET-INF-BAR.018	Barrel TOF Support

System 1:	Barrel Detector Structures (6.03.01.09.01)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The global support tube will provide support for the barrel time-of-flight system.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-PID.4, P-DET-PID.5

References:

I-DET-INF-BAR.019	Barrel DIRC Support

System 1:	Barrel Detector Structures (6.03.01.09.01)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The global support tube will provide support for the DIRC system.

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-PID.4, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Hadron Endcap Structures (DET-INF-FWD)

I-DET-INF-FWD.010	Space Constraint

System 1:	Forward RICH Detector Systems (6.03.01.03)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	The interior radius of the dRICH is governed by the size of the beamline and its associated flanges and support system.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-FWD.011	Space Constraint

System 1:	Forward Time of Flight Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum forward location for the tracking system is limited by the position of the forward AC LGAD Time of Flight Detector. Modifications to either must be coordinated.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

# Particle Identification Systems (DET-PID) to Detector Infrastructure and Utilities Integration (DET-INF-INT)

I-DET-INF-INT.003	Cabling/Services Conduit

System 1:	DET-DS (DET-DS)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The global support tube will provide integrated pathways for cabling and services to be delivered from the interior detectors (pf RICH, inner MPGD, barrel ToF and silicon trackers) to the exterior infrastructure.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.4, P-DET-PID.5

References:

I-DET-INF-INT.013	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The backward position and shape of the barrel EMCAL is limited by the size and shape of the DIRC readout supports. Changes to the size or position of either must be coordinated with the other.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.014	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum size of the DIRC is limited to the interior bore of the barrel ECAL (and its support structures). Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.015	Space Constraint

System 1:	Barrel EMCal Systems (6.03.01.04)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The forward position and shape of the barrel ECAL is limited by the backward face of the Dual RICH detector and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.017	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum backward location for the DIRC is limited by the position of the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.018	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The exterior radius of the backward ECAL is limited by the interior bore of the global support tube and the space needed for all the services needed by the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.019	Heat Mitigation

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	ENV

Description:	The backward ECAL must mitigated the heat generated by the backward RICH detector (pfRICH)

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.3

References:

I-DET-INF-INT.020	Space Constraint

System 1:	Backward EMCal Systems (6.03.01.04)

System 2:	Backward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The position of the backward ECAL in the forward direction is limited by the backward face of the pfRICH detector. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.026	Space Constraint

System 1:	Forward EMCal Systems (6.03.01.04)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the dRICH is limited by the forward ECAL and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-ECAL.1, P-DET-PID.5

References:

I-DET-INF-INT.033	Space Constraint

System 1:	Barrel HCal Systems (6.03.01.05)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The size of the dRICH is limited by the interior bore of the barrel HCAL, and must provide adequate space for cables and services to itself and the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-HCAL.1, P-DET-PID.5

References:

I-DET-INF-INT.036	Space Constraint

System 1:	Backward HCal Systems (6.03.01.05)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum backward location for the DIRC is limited by the backward endcap support structure and the adjacent cabling pathway that provides services to the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-HCAL.1, P-DET-PID.5

References:

I-DET-INF-INT.085	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	COOL

Description:	The heat generated by the photo-multiplier tubes and associated electronics must be removed using a process cooling system.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.086	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	COOL

Description:	The heat generated by the detector and its electronics must be removed using a process cooling system.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.087	Process Cooling

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	COOL

Description:	The heat generated by the photon-sensors and associated electronics must be removed using a process cooling system.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.088	Dry Nitrogen

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Backward Particle ID Systems (6.03.01.03)

Type:	GAS/FLUID

Description:	A continuous flow of dry nitrogen will be required to protect the aerogel radiator.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-FWD-RICH.7

References:

I-DET-INF-INT.089	Photosensor Cooling System

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	COOL

Description:	A fluid cooling system will be required to keep the operating temperature of the photosensors at -30 degrees Celsius.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.090	Gas Recovery System

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	ENV

Description:	A recovery system will need to be included for the radiator gas used by the dRICH to prevent accidental release.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-FWD-RICH.6

References:

I-DET-INF-INT.091	Insulation

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	ENV

Description:	Sufficient insulation will need to be added around all coolant lines to prevent condensation and ensure that ice doesn't form.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.092	Dry Nitrogen for Aerogel

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	GAS/FLUID

Description:	A continuous flow of dry nitrogen will be required to protect the aerogel radiator.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.093	Dry Nitrogen for Photosensors

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	GAS/FLUID

Description:	This gas will be required to create a protective atmosphere for the cold photosensors and to prevent condensation and freezing.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.1

References:

I-DET-INF-INT.094	Radiator Gas

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward Particle ID Systems (6.03.01.03)

Type:	GAS/FLUID

Description:	A continuous recirculating flow of radiator gas will be required.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-FWD-RICH.6

References:

I-DET-INF-INT.097	Space Constraint

System 1:	Solenoid Magnet (6.03.01.06)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the solenoid is limited by the position of the Dual RICH detector and the cabling plenum (gap) between them. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-MAG.1, P-DET-PID.5

References:

I-DET-INF-INT.098	Space Constraint

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Barrel TOF Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	The exterior radius of the pfRICH is limited by the interior bore of the global support tube and the space needed for services for the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.099	Space Constraint

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Backward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The exterior radius of the pfRICH is limited by the interior bore of the global support tube and the space needed for services for the interior detectors. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.100	Space Constraint

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the DIRC is limited by the position of the dRICH detector and the cabling plenum between them. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.101	Service Pathway

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	Conduits must be provided within the global support tube that are adequate to deliver services (power, signal, cooling) to the barrel tracking detectors.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.104	Space Constraint

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the DIRC is limited by the service gap in front of the forward RICH detector.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.105	Space Constraint

System 1:	Barrel TOF Particle ID Systems (6.03.01.03)

System 2:	Backward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum backward location for the barrel Time of Flight detector is limited by the position of the pfRICH detector and the adjacent cabling pathway. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.106	Space Constraint

System 1:	Barrel TOF Particle ID Systems (6.03.01.03)

System 2:	Forward Time of Flight Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the barrel Time of Flight detector is limited by the position of the forward Time of Flight detector and the adjacent cabling pathway. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.107	Space Constraint

System 1:	Barrel TOF Particle ID Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum size of the silicon trackers is limited by the interior radius of the pixel support tube. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.108	Space Constraint

System 1:	Backward RICH Detector Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum backward location for the tracking system is limited by the position of the pfRICH. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.109	Space Constraint

System 1:	Backward RICH Detector Systems (6.03.01.03)

System 2:	IR Accelerator Systems (6.04.03)

Type:	SPACE

Description:	The interior radius of the pfRICH is governed by the size of the beamline and its associated flanges and support system.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5

References:

I-DET-INF-INT.138	Space Constraint

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	SPACE

Description:	Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-BAR-DIRC.7

References:

I-DET-INF-INT.139	Space Constraint

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-FWD-RICH.10

References:

I-DET-INF-INT.140	Space Constraint

System 1:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

System 2:	Backward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	Rack space on the platform must be provided for a small laser system to monitor the response of the photosensors and allow adjustment of timing correlations within the detector.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID-BCK-RICH.7

References:

# Particle Identification Systems (DET-PID) to Solenoid Magnet (DET-MAG)

I-DET-INF-BAR.016	DIRC Readout Supports

System 1:	Solenoid Magnet (6.03.01.06)

System 2:	Barrel DIRC Particle ID Systems (6.03.01.03)

Type:	STRUCT

Description:	The DIRC prism box containing the photosensor readouts, will be supported by an external structure supporting through the global support tube

Provider:	Barrel Detector Structures (6.03.01.09.01)

Details:	See details in the Barrel Detector Structures Interface Control Document.

Requirements:	P-DET-MAG.1, P-DET-MAG.2, P-DET-PID.4

References:

I-DET-INF-INT.097	Space Constraint

System 1:	Solenoid Magnet (6.03.01.06)

System 2:	Forward RICH Detector Systems (6.03.01.03)

Type:	SPACE

Description:	The maximum forward location for the solenoid is limited by the position of the Dual RICH detector and the cabling plenum (gap) between them. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-MAG.1, P-DET-PID.5

References:

# Particle Identification Systems (DET-PID) to Barrel Tracking Systems (DET-TRAK-BAR)

I-DET-INF-FWD.011	Space Constraint

System 1:	Forward Time of Flight Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum forward location for the tracking system is limited by the position of the forward AC LGAD Time of Flight Detector. Modifications to either must be coordinated.

Provider:	Hadron Endcap Structures (6.03.01.09.03)

Details:	See details in the Hadron Endcap Structures Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.101	Service Pathway

System 1:	Barrel DIRC Particle ID Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	Conduits must be provided within the global support tube that are adequate to deliver services (power, signal, cooling) to the barrel tracking detectors.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.107	Space Constraint

System 1:	Barrel TOF Particle ID Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum size of the silicon trackers is limited by the interior radius of the pixel support tube. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

I-DET-INF-INT.108	Space Constraint

System 1:	Backward RICH Detector Systems (6.03.01.03)

System 2:	Barrel Tracking Systems (6.03.01.02)

Type:	SPACE

Description:	The maximum backward location for the tracking system is limited by the position of the pfRICH. Modifications to either must be coordinated.

Provider:	Detector Infrastructure and Utilities Integration (6.03.01.09.04)

Details:	See details in the Detector Infrastructure and Utilities Integration Interface Control Document.

Requirements:	P-DET-PID.5, P-DET-TRAK.9

References:

# Applicable Documents

List applicable documents considered to be part of this document. Applicable documents shall be obtained from the EIC SharePoint Document Center.

# Detailed change Log

| Revision | Date | Change |
| --- | --- | --- |

# References

- doi:10.17226/25171., National Academies of Sciences, Engineering, and Medicine, "An Assessment of U.S.-Based Electron-Ion Collider Science", The National Academies Press, Washington, DC, 2018.

- EIC-ORG-PLN-010, Electron-Ion Collider L1 Requirements (Global Requirements Document)

- BNL-221006-2021-FORE, EIC Conceptual Design Report

- arXiv:2103.05419, Science Requirements and Detector Concepts for the Electron-Ion Collider: EIC Yellow Report

- EIC-SEG-PLN-016, Requirements Management Plan

- EIC-SEG-PLN-022, Systems Engineering Management Plan

- EIC-SEG-PLN-020, EIC Interface Management Plan