Electron-Ion Collider, Requirements, Specifications, and Interfaces

Interface Control Document: [###]

Tracking Systems (6.03.02) to Collider Hadron Storage Ring (6.05.04)

Prepared by:

{{Sig_es_:signer1:signature}}	Date: {{Dte_es_:signer1:date}}

Name, Role

Electron-Ion Collider at Institution

Reviewed by:

{{Sig_es_:signer2:signature}}	Date: {{Dte_es_:signer2:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer3:signature}}	Date: {{Dte_es_:signer3:date}}

Name, Role

Electron-Ion Collider at Institution

{{Sig_es_:signer4:signature}}	Date: {{Dte_es_:signer4:date}}

Name, Role

Electron-Ion Collider at Institution

Approved by:

{{Sig_es_:signer5:signature}}	Date: {{Dte_es_:signer5:date}}

Name, Role

Electron-Ion Collider at Institution

REVISION HISTORY

| Revision # | Effective Date | Additional Reviewers | Summary of Change |
| --- | --- | --- | --- |
| 00 |  |  | Initial release. |

TABLE OF CONTENTS

1.	Purpose and Scope	5

2.	Introduction	5

2.1	Tracking Systems	5

2.2	Overview of Interface Relationships	5

2.3	Safety and Environmental Considerations	5

2.4	Design Considerations	5

2.5	Organization	5

3.	Interface summary	6

4.	Tracking Systems (DET-TRAK) to Collider Hadron Storage Ring (COL-HSR)	7

5.	Applicable Documents	7

6.	Detailed change Log	8

7.	References	8

LIST OF ACRONYMS

| B0 | B0 is the name of the forward magnet just past the Hadron Endcap |  |
| --- | --- | --- |
| CDR | Conceptual Design Report |  |
| COTS | Commercial Off the Shelf |  |
| DAQ | Data Acquisition |  |
| DET | EIC Detector |  |
| DIRC | Detection of Internally Reflected Cherenkov Light |  |
| dRICH | Dual radiator ring imaging Cherenkov |  |
| DVCS | Deeply Virtual Compton Scattering |  |
| EIC | Electron-Ion Collider |  |
| EMCAL | Electro-magnetic Calorimeter |  |
| ESR | Electron Storage Ring |  |
| FCC | Federal Communications Commission |  |
| FDR | Final Design Review |  |
| GEM | Gas Electron Multiplier |  |
| HCAL | Hadronic Calorimeter |  |
| HSR | Hadron Storage Ring |  |
| HVAC | Heating/Ventilation/Air Conditioning |  |
| IP | Interaction Point |  |
| IR | Interaction Region |  |
| MPGD | Micro Pattern Gaseous Detectors |  |
| NAS | National Academy of Sciences |  |
| NEC | National Electric Code |  |
| NEMA | National Electrical Manufacturers Association |  |
| NFPA | National Fire Protection Association |  |
| NRTL | Nationally Recognized Testing Laboratory |  |
| PID | Particle Identification |  |
| PRR | Production Readiness Review |  |
| PWO | PbWO4 |  |
| RCS | Rapid Cycling Synchrotron |  |
| TBD | To Be Determined |  |
| UL | Underwriter Laboratories |  |
| WBS | Work Break Down Structure |  |

# Interface Control Document:

Tracking Systems (6.03.02) to Collider Hadron Storage Ring (6.05.04)

# Purpose and Scope

This document records the agreed upon interfaces between the Tracking Systems and other sub-systems within the Collider Hadron Storage Ring. These interfaces are based on the system requirements that are necessary to integrate these sub-systems as part of the Electron Ion Collider Project.

# Introduction

These interfaces describe the relationships between the Tracking Systems and the Collider Hadron Storage Ring including (examples by inclusion) located in (areas by inclusion).

## Tracking Systems

Provide an introductory description of your sub-system and an overview of the things that it receives, provides, supports, constrains, or otherwise requires as part of its function --- specifically if these things are manifested as interfaces.

## Overview of Interface Relationships

The following are the sub-systems within the Collider Hadron Storage Ring that have interfaces connected to the Tracking Systems.

Collider Hadron Storage Ring (COL-HSR): Identify the general types of interface relationships between the ICD reference system and this sub-system.

## Safety and Environmental Considerations

General safety and environmental considerations are identified here. Any considerations that are specific to the individual sub-system, will be addressed in external safety documents and are referenced here.

### Considerations for all systems

Add general safety and environmental considerations here.

### Special considerations and references

Add references here as necessary.

## Design Considerations

Notes here about general design considerations.

## Organization

The interfaces in this document are grouped by sub-system as identified in the sub-system identifier. All interfaces between the Tracking Systems and a related sub-system will be included in a single section. Entries within that section will be sorted by the interface identifier or WBS number, as appropriate.

# Interface summary

This tables in this section provide a list of all interfaces that are defined within this document. The interfaces are grouped by sub-system/WBS. Each table has the following fields:

Section: the section number in this document where the interface is addressed.

WBS (1): the WBS number within the ICD reference system, unless the reference system is the owner.

WBS (2): the WBS number for the connected system.

ID: the interface identifier as defined in the Interface Requirement Document (IRD).

Name: the name of the interface as defined in the IRD.

Description: the description of the interface as defined in the IRD.

Owner: identifies the WBS number of the entity that is responsible for ensuring the interface is provided and that it meets validation/verification requirements.

Tracking Systems to Collider Hadron Storage Ring

| Section | WBS1 | WBS2 | ID | Name | Description | Owner |
| --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 6.05.04 |  |  | Collider Hadron Storage Ring |  |
| 4.1 | 6.03.02 | 6.05.04 | I-DET-TRAK-BAR.001 | Heat Tolerance | The silicon is in close proximity with the beamline. During bakeout the heat will need to be removed to prevent damage to the silicon. | 6.03.02 |
| 4.2 | 6.03.02 | 6.05.04 | I-DET-TRAK-BAR.002 | Space Constraint | The interior radius of the silicon trackers is limited by the size of the enclosed beamline and the additional required alignment distance. Modifications to either must be coordinated to ensure that a) space is consistent with the size of the sensors, and b) the sensors and their epoxy can tolerate the internal temperature. | 6.03.02 |

# Tracking Systems (DET-TRAK) to Collider Hadron Storage Ring (COL-HSR)

I-DET-TRAK-BAR.001	Heat Tolerance

System 1:	Barrel Tracking Systems (6.03.02)

System 2:	Collider Hadron Storage Ring (6.05.04)

Type:	ENV

Description:	The silicon is in close proximity with the beamline. During bakeout the heat will need to be removed to prevent damage to the silicon.

Provider:	Barrel Tracking Systems (6.03.02)

Details:	See details in the Tracking Systems Interface Control Document.

Requirements:	P-DET-TRAK.5

References:

I-DET-TRAK-BAR.002	Space Constraint

System 1:	Barrel Tracking Systems (6.03.02)

System 2:	Collider Hadron Storage Ring (6.05.04)

Type:	SPACE

Description:	The interior radius of the silicon trackers is limited by the size of the enclosed beamline and the additional required alignment distance. Modifications to either must be coordinated to ensure that a) space is consistent with the size of the sensors, and b) the sensors and their epoxy can tolerate the internal temperature.

Provider:	Barrel Tracking Systems (6.03.02)

Details:	See details in the Tracking Systems Interface Control Document.

Requirements:	P-DET-TRAK.5

References:

# Applicable Documents

List applicable documents considered to be part of this document. Applicable documents shall be obtained from the EIC SharePoint Document Center.

# Detailed change Log

| Revision | Date | Change |
| --- | --- | --- |

# References

- doi:10.17226/25171., National Academies of Sciences, Engineering, and Medicine, "An Assessment of U.S.-Based Electron-Ion Collider Science", The National Academies Press, Washington, DC, 2018.

- EIC-ORG-PLN-010, Electron-Ion Collider L1 Requirements (Global Requirements Document)

- BNL-221006-2021-FORE, EIC Conceptual Design Report

- arXiv:2103.05419, Science Requirements and Detector Concepts for the Electron-Ion Collider: EIC Yellow Report

- EIC-SEG-PLN-016, Requirements Management Plan

- EIC-SEG-PLN-022, Systems Engineering Management Plan

- EIC-SEG-PLN-020, EIC Interface Management Plan